## questionnaire
Questionnaire on available analytical methods to check compliance with REACH Annex XVII restrictions
Restriction | Type of method | Analytical method | Reference for laboratory developed methods | Analytical Technique | Category of method | Applicability |  |  | Limit of Detection | Recovery |  | Sample preparation | Reproducibility |  | Measurement uncertainty (MU) |  |  | Member State | Laboratory
[6 empty] | Analyte | Matrix | Concentration range |  | % | Concentration range |  | RSD % | Concentration range | % | Concentration range | Estimation approach
1. Polychlorinated terphenyls (PCTs) | [19 empty] | 1 | E1 | BE
2. Chloroethene (vinyl chloride) CAS No 75-01-4 EC No 200-831-0 | [19 empty] | 2 | E2 | BG
3. Liquid substances or mixtures which are regarded as dangerous in accordance with Directive 1999/45/EC or are fulfilling the criteria for any of the following hazard classes or categories set out in Annex I to Regulation (EC) No 1272/2008: (a) hazard classes 2.1 to 2.4, 2.6 and 2.7, 2.8 types A and B, 2.9, 2.10, 2.12, 2.13 categories 1 and 2, 2.14 categories 1 and 2, 2.15 types A to F; (b) hazard classes 3.1 to 3.6, 3.7 adverse effects on sexual function and fertility or on development, 3.8 effects other than narcotic effects, 3.9 and 3.10; (c) hazard class 4.1; (d) hazard class 5.1. | [19 empty] | 3 |  | CZ
4. Tris (2,3 dibromopropyl) phosphate CAS No 126-72-7 | [19 empty] | 4A |  | DK
5. Benzene CAS No 71-43-2 EC No 200-753-7 | [19 empty] | 4B |  | DE
6. Asbestos fibres (a) Crocidolite CAS No 12001-28-4 (b) Amosite CAS No 12172-73-5 (c) Anthophyllite CAS No 77536-67-5 (d) Actinolite CAS No 77536-66-4 (e) Tremolite CAS No 77536-68-6 (f) Chrysotile CAS No 12001-29-5 CAS No 132207-32-0 | [19 empty] | 4C |  | EE
7. Tris(aziridinyl)phosphinoxide CAS No 545-55-1 EC No 208-892-5 | [21 empty] | IE
8. Polybromobiphenyls; Polybrominatedbiphenyls (PBB) CAS No 59536-65-1 | [21 empty] | EL
9. (a) Soap bark powder (Quillaja saponaria) and its derivatives containing saponines CAS No 68990-67-0 EC 273-620-4 (b) Powder of the roots of Helleborus viridis and Helleborus niger (c) Powder of the roots of Veratrum album and Veratrum nigrum (d) Benzidine and/or its derivatives CAS No 92-87-5 EC No 202-199-1 (e) o-Nitrobenzaldehyde CAS No 552-89-6 EC No 209-025-3 (f) Wood powder | [21 empty] | ES
10. (a) Ammonium sulphide CAS No 12135-76-1 EC No 235-223-4 (b) Ammonium hydrogen sulphide CAS No 12124-99-1 EC No 235-184-3 (c) Ammonium polysulphide CAS No 9080-17-5 EC No 232-989-1 | [21 empty] | FR
11. Volatile esters of bromoacetic acids: (a) Methyl bromoacetate CAS No 96-32-2 EC No 202-499-2 (b) Ethyl bromoacetate CAS No 105-36-2 EC No 203-290-9 (c) Propyl bromoacetate CAS No 35223-80-4 (d) Butyl bromoacetate CAS No 18991-98-5 EC No 242-729-9 | [21 empty] | HR
12. 2-Naphthylamine CAS No 91-59-8 EC No 202-080-4 and its salts | [21 empty] | IT
13. Benzidine CAS No 92-87-5 EC No 202-199-1 and its salts | [21 empty] | CY
14. 4-Nitrobiphenyl CAS No 92-93-3 Einecs EC No 202-204-7 | [21 empty] | LV
15. 4-Aminobiphenyl xenylamine CAS No 92-67-1 Einecs EC No 202-177-1 and its salts | [21 empty] | LT
16. Lead carbonates: (a) Neutral anhydrous carbonate (PbCO 3 ) CAS No 598-63-0 EC No 209-943-4 (b) Trilead-bis(carbonate)-dihydroxide 2Pb CO 3 -Pb(OH) 2 CAS No 1319-46-6 EC No 215-290-6 | [21 empty] | LU
17. Lead sulphates: (a) PbSO 4 CAS No 7446-14-2 EC No 231-198-9 (b) Pb x SO 4 CAS No 15739-80-7 EC No 239-831-0 | [21 empty] | HU
18. Mercury compounds | [21 empty] | MT
18a. Mercury CAS No 7439-97-6 EC No 231-106-7 | [21 empty] | NL
19. Arsenic compounds | [21 empty] | AT
20. Organostannic compounds | [21 empty] | PL
21. Di-μ-oxo-di-n-butylstanniohydroxyborane/ Dibutyltin hydrogen borate C 8 H 19 BO 3 Sn (DBB) CAS No 75113-37-0 EC No 401-040-5 | [21 empty] | PT
22. Pentachlorophenol CAS No 87-86-5 EC No 201-778-6 and its salts and esters | [21 empty] | RO
23. Cadmium CAS No 7440-43-9 EC No 231-152-8 and its compounds | [21 empty] | SI
24. Monomethyl — tetrachlorodiphenyl methane Trade name: Ugilec 141 CAS No 76253-60-6 | [21 empty] | SK
25. Monomethyl-dichloro-diphenyl methane Trade name: Ugilec 121 Ugilec 21 | [21 empty] | FI
26. Monomethyl-dibromo-diphenyl methane bromobenzylbromotoluene, mixture of isomers Trade name: DBBT CAS No 99688-47-8 | [21 empty] | SE
28. Substances which appear in Part 3 of Annex VI to Regulation (EC) No 1272/2008 classified as carcinogen category 1A or 1B (Table 3.1) or carcinogen category 1 or 2 (Table 3.2) and listed as follows: — Carcinogen category 1A (Table 3.1)/ carcinogen category 1 (Table 3.2) listed in Appendix 1 — Carcinogen category 1B (Table 3.1)/ carcinogen category 2 (Table 3.2) listed in Appendix 2 | [21 empty] | UK
29. Substances which appear in Part 3 of Annex VI to Regulation (EC) No 1272/2008 classified as germ cell mutagen category 1A or 1B (Table 3.1) or mutagen category 1 or 2 (Table 3.2) and listed as follows: — Mutagen category 1A (Table 3.1)/ mutagen category 1 (Table 3.2) listed in Appendix 3 — Mutagen category 1B (Table 3.1)/ mutagen category 2 (Table 3.2) listed in Appendix 4
30. Substances which appear in Part 3 of Annex VI to Regulation (EC) No 1272/2008 classified as toxic to reproduction category 1A or 1B (Table 3.1) or toxic to reproduction category 1 or 2 (Table 3.2) and listed as follows: — Reproductive toxicant category 1A adverse effects on sexual function and fertility or on development (Table 3.1) or reproductive toxicant category 1 with R60 (May impair fertility) or R61 (May cause harm to the unborn child) (Table 3.2) listed in Appendix 5 — Reproductive toxicant category 1B adverse effects on sexual function and fertility or on development (Table 3.1) or reproductive toxicant category 2 with R60 (May impair fertility) or R61 (May cause harm to the unborn child) (Table 3.2) listed in Appendix 6
31. (a) Creosote; wash oil CAS No 8001-58-9 EC No 232-287-5 (b) Creosote oil; wash oil CAS No 61789-28-4 EC No 263-047-8 (c) Distillates (coal tar), naphthalene oils; naphthalene oil CAS No 84650-04-4 EC No 283-484-8 (d) Creosote oil, acenaphthene fraction; wash oil CAS No 90640-84-9 EC No 283-484-8EC No 292-605-3 (e) Distillates (coal tar), upper; heavy anthracene oil CAS No 65996-91-0 EC No 266-026-1 (f) Anthracene oil CAS No 90640-80-5 EC No 292-602-7 (g) Tar acids, coal, crude; crude phenols CAS No 65996-85-2 EC No 266-019-3 (h) Creosote, wood CAS No 8021-39-4 EC No 232-419-1 (i) Low temperature tar oil, alkaline; extract residues (coal), low temperature coal tar alkaline CAS No 122384-78-5 EC No 310-191-5
32. Chloroform CAS No 67-66-3 EC No 200-663-8
34. 1,1,2-Trichloroethane CAS No 79-00-5 EC No 201-166-9
35. 1,1,2,2-Tetrachloroethane CAS No 79-34-5 EC No 201-197-8
36. 1,1,1,2-Tetrachloroethane CAS No 630-20-6
37. Pentachloroethane CAS No 76-01-7 EC No 200-925-1
38. 1,1-Dichloroethene CAS No 75-35-4 EC No 200-864-0
40. Substances classified as flammable gases category 1 or 2, flammable liquids categories 1, 2 or 3, flammable solids category 1 or 2, substances and mixtures which, in contact with water, emit flammable gases, category 1, 2 or 3, pyrophoric liquids category 1 or pyrophoric solids category 1, regardless of whether they appear in Part 3 of Annex VI to that Regulation or not.
41. Hexachloroethane CAS No 67-72-1 EC No 200-666-4
45. Diphenylether, octabromo derivative C 12 H 2 Br 8 O
46. (a) Nonylphenol C 6 H4(OH)C 9 H 19 CAS 25154-52-3 EC 246-672-0 (b) Nonylphenol ethoxylates (C 2 H 4 O) n C 15 H 24 O
46a. Nonylphenol ethoxylates (NPE) (C 2 H 4 O) n C 15 H 24 O
47. Chromium VI compounds
48. Toluene CAS No 108-88-3 EC No 203-625-9
49. Trichlorobenzene CAS No 120-82-1 EC No 204-428-0
50. Polycyclic-aromatic hydrocarbons (PAH) (a) Benzo[a]pyrene (BaP) CAS No 50-32-8 (b) Benzo[e]pyrene (BeP) CAS No 192-97-2 (c) Benzo[a]anthracene (BaA) CAS No 56-55-3 (d) Chrysen (CHR) CAS No 218-01-9 (e) Benzo[b]fluoranthene (BbFA) CAS No 205-99-2 (f) Benzo[j]fluoranthene (BjFA) CAS No 205-82-3 (g) Benzo[k]fluoranthene (BkFA) CAS No 207-08-9 (h) Dibenzo[a,h]anthracene (DBAhA) CAS No 53-70-3
51. The following phthalates (or other CAS and EC numbers covering the substance): (a) Bis (2-ethylhexyl) phthalate (DEHP) CAS No 117-81-7 EC No 204-211-0 (b) Dibutyl phthalate (DBP) CAS No 84-74-2 EC No 201-557-4 (c) Benzyl butyl phthalate (BBP) CAS No 85-68-7 EC No 201-622-7 d) Diisobutyl phthalate (DIBP) CAS No.: 84-69-5 EC No.: 201-553-2
52. The following phthalates (or other CAS- and EC numbers covering the substance): (a) Di-‘isononyl’ phthalate (DINP) CAS No 28553-12-0 and 68515-48-0 EC No 249-079-5 and 271-090-9 (b) Di-‘isodecyl’ phthalate (DIDP) CAS No 26761-40-0 and 68515-49-1 EC No 247-977-1 and 271-091-4 (c) Di-n-octyl phthalate (DNOP) CAS No 117-84-0 EC No 204-214-7
54. 2-(2-methoxyethoxy)ethanol (DEGME) CAS No 111-77-3 EC No 203-906-6
55. 2-(2-butoxyethoxy)ethanol (DEGBE) CAS No 112-34-5 EC No 203-961-6
56. Methylenediphenyl diisocyanate (MDI) CAS No 26447-40-5 EC No 247-714-0
57. Cyclohexane CAS No 110-82-7 EC No 203-806-2
58. Ammonium nitrate (AN) CAS No 6484-52-2 EC No 229-347-8
59. Dichloromethane CAS No 75-09-2 EC No: 200-838-9
60. Acrylamide CAS No 79-06-1
61. Dimethylfumarate (DMF) CAS No 624-49-7 EC 210-849-0
62. (a) Phenylmercury acetate EC No: 200-532-5 CAS No: 62-38-4 (b) Phenylmercury propionate EC No: 203-094-3 CAS No: 103-27-5 (c) Phenylmercury 2-ethylhexanoate EC No: 236-326-7 CAS No: 13302-00-6 (d) Phenylmercury octanoate EC No: - CAS No: 13864-38-5 (e) Phenylmercury neodecanoate EC No: 247-783-7 CAS No: 26545-49-3
63. Lead CAS No 7439-92-1 EC No 231-100-4 and its compounds
64. 1,4-dichlorobenzene CAS No 106-46-7 EC No 203-400-5
66. Bisphenol A CAS No 80-05-7 EC No 201-245-8
67. Bis(pentabromophenyl)ether (decabromodiphenyl ether; decaBDE) CAS No 1163-19-5 EC No 214-604-9
68. Linear and branched perfluorocarboxylic acids of the formula CnF2n +1-C(= O)OH where n = 8, 9, 10, 11, 12, or 13 (C9-C14 PFCAs), including their salts, and any combinations thereof; Any C9-C14 PFCA-related substance having a perfluoro group with the formula CnF2n +1- directly attached to another carbon atom, where n = 8, 9, 10, 11, 12, or 13, including their salts and any combinations thereof; Any C9-C14 PFCA-related substance having a perfluoro group with the formula CnF2n +1- that it is not directly attached to another carbon atom, where n = 9, 10, 11, 12, 13 or 14 as one of the structural elements, including their salts and any combinations thereof. The following substances are excluded from this designation — CnF2n +1-X, where X = F, Cl, or Br — where n = 9, 10, 11, 12, 13 or 14, including any combinations thereof, — CnF2n +1-C(= O)OX' where n> 13 and X'=any group, including salts.
69. Methanol CAS No 67-56-1 EC No 200-659-6
70. Octamethylcyclotetrasiloxane (D4) CAS No 556-67-2 EC No 209-136-7 Decamethylcyclopentasiloxane (D5) CAS No 541-02-6 EC No 208-764-9
71. 1-methyl-2-pyrrolidone (NMP) CAS No 872-50-4 EC No 212-828-1
72. The substances listed in column 1 of the Table in Appendix 12
73. (3,3,4,4,5,5,6,6,7,7,8,8,8-tridecafluorooctyl) silanetriol Any of its mono-, di- or tri-O-(alkyl) derivatives (TDFAs)
74. Diisocyanates, O = C=N-R-N = C=O, with R an aliphatic or aromatic hydrocarbon unit of unspecified length
75.Substances falling within one or more of the following points: (a) substances classified as any of the following in Part 3 of Annex VI to Regulation (EC) No 1272/2008: — carcinogen category 1A, 1B or 2, or germ cell mutagen category 1A, 1B or 2, but excluding any such substances classified due to effects only following exposure by inhalation — reproductive toxicant category 1A, 1B or 2 but excluding any such substances classified due to effects only following exposure by inhalation — skin sensitiser category 1, 1A or 1B — skin corrosive category 1, 1A, 1B or 1C or skin irritant category 2 — serious eye damage category 1 or eye irritant category 2 (b) substances listed in Annex II to Regulation (EC) No 1223/2009 of the European Parliament and of the Council (*22) (c) substances listed in Annex IV to Regulation (EC) No 1223/2009 for which a condition is specified in at least one of the columns g, h and i of the table in that Annex (d) substances listed in Appendix 13 to this Annex. The ancillary requirements in paragraphs 7 and 8 of column 2 of this entry apply to all mixtures for use for tattooing purposes, whether or not they contain a substance falling within points (a) to (d) of this column of this entry.
76. N,N-dimethylformamide CAS No 68-12-2 EC. No 200-679-5

## legend
Legend
Please fill in the entire row and use "n.d." (not determined) or "n.a." (not applicable), if no information is available.
Column A: Restriction
Reference to REACH Annex XVII restrictions is given. Entries for which an official method is already specified by the legal text are omitted.
Please add as many rows as needed in order to distinguish different analytes/matrices within the same entry (see columns F and G). Only for entries 3, 28, 29, 30, 40 and 72, please fill in the relevant sheet, if the number of analytes/matrices is higher than 5.
Column B: Type of method
Indicate methods according to the following legend:
1 = Official methods (published in European or National legislation)
2 = Standard methods (published by International, European or National standardisation bodies)
3 = Method published by a recognised technical organism and national or EU reference laboratory (EPA, etc.)
4 = Laboratory-developed methods (please specify its source according to the following legend):
  4A = based on Official/Standard/published methods by recognised technical organisms
  4B = based on relevant scientific publications
  4C = based on specification by the manufacturer of the equipment
Column C: Analytical method
Report analytical methods in the same format as referenced by regulations, standardisation bodies or recognised technical organisms, specifying the year of publication, and, if applicable, number of chapter, paragraph or attached and/or page, in order to unequivocally identify the method used.
In case of a laboratory developed method (type of method 4 in column B), please report it as “internal method” and include the relevant reference in Column D.
If relevant, the combination of different methods used to perform the analysis should be also indicated (e.g. sampling, sample preparation and instrumental analysis).
(Example: sample preparation EN 1811:2011 Annex C + instrumental analysis NL12VW01).
Column D: Reference for laboratory developed methods
Put reference for laboratory developed method according to the relevant publication (e.g. Official Journal; Standardisation bodies convention; Authors, Title, Journal, Volume, page(s), year ).
Column E: Analytical technique
Indicate the used analytical technique including the detection equipment (e.g. GC coupled with MS).
Column F: Category of method
Specify the category of analytical method according to the following legend:
E1= Qualitative
E2= Quantitative
Column G: Applicability- Analyte
Indicate the analyte covered by the relevant REACH Annex XVII entry which is under the scope of the adopted method.
Column H: Applicability - Matrix/Item/Material
Indicate the matrix/item/material covered by the relevant REACH Annex XVII entry which is under the scope of the adopted method.
Column I : Applicability - Concentration range
Indicate the concentration range (expressed with relevant units) in which the method gives an acceptable trueness and precision.
Column J: Limit of Detection
Indicate the calculated limit of detection of the method.
Column K: Recovery - %
Report the recovery % .
Column L: Recovery – concentration range
Report the concentration or concentration range (expressed with relevant units) at which the recovery was estimated.
Column M: sample preparation
Report the sample preparation used for the analyte extraction from the matrix.
Column N: Reproducibility RSDR %
Report the estimated reproducibility expressed as Relative Standard Deviation %
If this information is not available (e.g. type of method 4) please indicate if the estimated value is referring to ‘Repeatibility’ or ‘Intermediate precision’.
Column O: Reproducibility - concentration range
Report the concentration or concentration range (expressed with relevant units) at which the reproducibility (or repeatibility or intermediate precision) was estimated.
Column P: Measurement uncertainty (MU) %
Report the MU %.
Column Q: MU – concentration range
Report the concentration or concentration range (expressed with relevant units) at which the MU was estimated.
Column R: MU – estimation approach
Indicate the adopted approach for MU estimation (a: bottom-up approach, b: top-down approach).
Column S: Member State
Indicate the Member State (country code) in which your laboratory is based.
Column T: Laboratory
Report the relevant contact details of the laboratory/ies applying the reported method. Please note that this information will be regarded as confidential and stored only for internal use by the relevant Member State.

## glossary
Glossary
For the purpose of this document :
Accuracy: means the closeness of agreement between a test result and the accepted reference value. It is determined by determining trueness and precision.
Analyte: means the substance that has to be detected, identified and/or quantified and derivatives emerging during its analysis.
Applicability: means the set of information about the identity of analyte(s), the concentration range and the kind of matrix/material/item of a specific analytical method for its intended application.
Bias: means the difference between the expectation of the test results and an accepted reference value.
Bottom-up approach: The “bottom-up” approach (component-by-component or metrological) for the measurement uncertainty estimation consists in the evaluation of all the relevant sources of uncertainty that can affect the result, quantifying those that are significant and combining them by using the law of propagation of uncertainty.
Certified reference materials (CRM): a material that has had a specified analyte content assigned to it.
Collaborative study: means analysing the same sample by the same method to determine the performance characteristics of the method. The study covers random measurement error and laboratory bias.
Concentration range (working or measuring): means the range in which the method gives an acceptable trueness and precision. The lowest limit of the working or measuring concentration range is the lowest limit of the calibration range. However the upper limit of the working range could be not only the highest point in the calibration curve, but a higher concentration at which acceptable trueness and precision can be proven.
Intermediate precision (or within-laboratory reproducibility): means precision obtained in the same laboratory under stipulated (predetermined) conditions (concerning e.g. method, test materials, operators, environment) over justified long time intervals.
Interlaboratory study (comparison): means organization, performance and evaluation of tests on the same sample by two or more laboratories in accordance with predetermined conditions to determine testing performance. According to the purpose the study can be classified as collaborative study or proficiency study.
Limit of detection (LOD): means the lowest concentration or mass of an analyte, which can be detected with acceptable certainty, even though it cannot be quantified with acceptable precision.
Limit of quantification (LOQ): means the lowest concentration or mass of an analyte, which can be determined with an acceptable level of uncertainty.
Limit of restriction (LOR): means the concentration or mass of an analyte, over which the sample does not comply with the law.
Measurement uncertainty: means a non-negative parameter characterizing the dispersion of the quantity values being attributed to a measurand, based on the information used.
Qualitative methods: means analytical methods which identify a substance on the basis of its chemical, biological or physical properties.
Quantitative methods: means analytical methods which determine the amount or mass fraction of a substance so that it may be expressed as a numerical value of appropriate units.
Performance characteristic: means functional quality that can be attributed to an analytical method. This may be for instance specificity, accuracy, trueness, precision, repeatability, reproducibility, recovery, LOD, LOQ and ruggedness.
Performance requirements: means requirements for a performance characteristic according to which it can be judged that the analytical method is fit for the purpose and generates reliable results.
Precision: means the closeness of agreement between independent test results obtained under stipulated (predetermined) conditions. The measure of precision is expressed in terms of imprecision and computed as standard deviation of the test result. Less precision is determined by a larger standard deviation.
Proficiency study: means analysing the same sample allowing laboratories to choose their own methods, provided these methods are used under routine conditions. The study can be used to assess the reproducibility of a method, when the same method is used by participants.
Proficiency testing: evaluation of participant performance against pre-established criteria by means of interlaboratory comparisons.
Recovery: means the fraction of the analyte that is recovered after addition of a known amount of the analyte, under defined conditions to the sample, when the test sample is analyzed using the entire method.
Relative standard deviation (RSD): Repeatability (or reproducibility) relative standard deviation RSDr[R] (coefficient of variation) is the repeatability (or reproducibility) standard deviation divided by the mean. The RSD is also known as coefficient variation.
Repeatability: means precision under repeatability conditions, namely the closeness of agreement between mutually independent test results obtained under repeatability conditions.
Repeatability conditions: means conditions where independent test results are obtained with the same method on identical test items in the same laboratory by the same operator using the same equipment.
Reproducibility: means precision under reproducibility conditions, namely the distribution of measurement results obtained under reproducibility conditions.
Reproducibility conditions: means conditions where test results are obtained with the same method on identical test items in different laboratories with different operators using different equipment.
Repeatability limit (r): is the value less than or equal to which the absolute difference between two results, obtained under repeatability conditions, may be expected to be with a probability of 95%.
Reproducibility limit (R) is the value less than or equal to which the absolute difference between two results, obtained under reproducibility conditions, may be expected to be with a probability of 95%.
Top-down approach: The “top-down” approach (holistic) for measurement uncertainty estimation is based on method validation and long-term precision data derived from laboratory control samples, proficiency testing results, published literature data and/or inter-laboratory collaborative trials.
Trueness: means the closeness of agreement between the average value obtained from a large series of test results and an accepted value. Trueness is usually expressed as bias.
Validation: means the confirmation by examination and the provision of effective evidence that the particular requirements of a specific intended use are fulfilled.

## entry 3
Restriction | Type of method | Analytical method | Reference for laboratory developed methods | Analytical Technique | Category of method | Applicability |  |  | Limit of Detection | Recovery |  | Sample preparation | Reproducibility |  | Measurement uncertainty (MU) |  |  | Member State | Laboratory
[6 empty] | Analyte | Matrix | Concentration range |  | % | Concentration range |  | RSD % | Concentration range | % | Concentration range | Estimation approach
3. Liquid substances or mixtures which are regarded as dangerous in accordance with Directive 1999/45/EC or are fulfilling the criteria for any of the following hazard classes or categories set out in Annex I to Regulation (EC) No 1272/2008: (a) hazard classes 2.1 to 2.4, 2.6 and 2.7, 2.8 types A and B, 2.9, 2.10, 2.12, 2.13 categories 1 and 2, 2.14 categories 1 and 2, 2.15 types A to F; (b) hazard classes 3.1 to 3.6, 3.7 adverse effects on sexual function and fertility or on development, 3.8 effects other than narcotic effects, 3.9 and 3.10; (c) hazard class 4.1; (d) hazard class 5.1.
BE
BG
CZ
DK
DE
EE
IE
EL
ES
FR
HR
IT
CY
LV
LT
LU
HU
MT
NL
AT
PL
PT
RO
SI
SK
FI
SE
UK
[20 empty] | 1 | E1
[20 empty] | 2 | E2
3
4A
4B
4C

## entry 28
Restriction | Type of method | Analytical method | Reference for laboratory developed methods | Analytical Technique | Category of method | Applicability |  |  | Limit of Detection | Recovery |  | Sample preparation | Reproducibility |  | Measurement uncertainty (MU) |  |  | Member State | Laboratory
[6 empty] | Analyte | Matrix | Concentration range |  | % | Concentration range |  | RSD % | Concentration range | % | Concentration range | Estimation approach
28. Substances which appear in Part 3 of Annex VI to Regulation (EC) No 1272/2008 classified as carcinogen category 1A or 1B (Table 3.1) or carcinogen category 1 or 2 (Table 3.2) and listed as follows: — Carcinogen category 1A (Table 3.1)/ carcinogen category 1 (Table 3.2) listed in Appendix 1 — Carcinogen category 1B (Table 3.1)/ carcinogen category 2 (Table 3.2) listed in Appendix 2
BE
BG
CZ
DK
DE
EE
IE
EL
ES
FR
HR
IT
CY
LV
LT
LU
HU
MT
NL
AT
PL
PT
RO
SI
SK
FI
SE
UK
[20 empty] | 1 | E1
[20 empty] | 2 | E2
3
4A
4B
4C

## entry 29
Restriction | Type of method | Analytical method | Reference for laboratory developed methods | Analytical Technique | Category of method | Applicability |  |  | Limit of Detection | Recovery |  | Sample preparation | Reproducibility |  | Measurement uncertainty (MU) |  |  | Member State | Laboratory
[6 empty] | Analyte | Matrix | Concentration range |  | % | Concentration range |  | RSD % | Concentration range | % | Concentration range | Estimation approach
29. Substances which appear in Part 3 of Annex VI to Regulation (EC) No 1272/2008 classified as germ cell mutagen category 1A or 1B (Table 3.1) or mutagen category 1 or 2 (Table 3.2) and listed as follows: — Mutagen category 1A (Table 3.1)/ mutagen category 1 (Table 3.2) listed in Appendix 3 — Mutagen category 1B (Table 3.1)/ mutagen category 2 (Table 3.2) listed in Appendix 4
BE
BG
CZ
DK
DE
EE
IE
EL
ES
FR
HR
IT
CY
LV
LT
LU
HU
MT
NL
AT
PL
PT
RO
SI
SK
FI
SE
UK
[20 empty] | 1 | E1
[20 empty] | 2 | E2
3
4A
4B
4C

## entry 30
Restriction | Type of method | Analytical method | Reference for laboratory developed methods | Analytical Technique | Category of method | Applicability |  |  | Limit of Detection | Recovery |  | Sample preparation | Reproducibility |  | Measurement uncertainty (MU) |  |  | Member State | Laboratory
[6 empty] | Analyte | Matrix | Concentration range |  | % | Concentration range |  | RSD % | Concentration range | % | Concentration range | Estimation approach
30. Substances which appear in Part 3 of Annex VI to Regulation (EC) No 1272/2008 classified as toxic to reproduction category 1A or 1B (Table 3.1) or toxic to reproduction category 1 or 2 (Table 3.2) and listed as follows: — Reproductive toxicant category 1A adverse effects on sexual function and fertility or on development (Table 3.1) or reproductive toxicant category 1 with R60 (May impair fertility) or R61 (May cause harm to the unborn child) (Table 3.2) listed in Appendix 5 — Reproductive toxicant category 1B adverse effects on sexual function and fertility or on development (Table 3.1) or reproductive toxicant category 2 with R60 (May impair fertility) or R61 (May cause harm to the unborn child) (Table 3.2) listed in Appendix 6
BE
BG
CZ
DK
DE
EE
IE
EL
ES
FR
HR
IT
CY
LV
LT
LU
HU
MT
NL
AT
PL
PT
RO
SI
SK
FI
SE
UK
[20 empty] | 1 | E1
[20 empty] | 2 | E2
3
4A
4B
4C

## entry 40
Restriction | Type of method | Analytical method | Reference for laboratory developed methods | Analytical Technique | Category of method | Applicability |  |  | Limit of Detection | Recovery |  | Sample preparation | Reproducibility |  | Measurement uncertainty (MU) |  |  | Member State | Laboratory
[6 empty] | Analyte | Matrix | Concentration range |  | % | Concentration range |  | RSD % | Concentration range | % | Concentration range | Estimation approach
40. Substances classified as flammable gases category 1 or 2, flammable liquids categories 1, 2 or 3, flammable solids category 1 or 2, substances and mixtures which, in contact with water, emit flammable gases, category 1, 2 or 3, pyrophoric liquids category 1 or pyrophoric solids category 1, regardless of whether they appear in Part 3 of Annex VI to that Regulation or not.
BE
BG
CZ
DK
DE
EE
IE
EL
ES
FR
HR
IT
CY
LV
LT
LU
HU
MT
NL
AT
PL
PT
RO
SI
SK
FI
SE
UK
[20 empty] | 1 | E1
[20 empty] | 2 | E2
3
4A
4B
4C

## entry 72
Restriction | Type of method | Analytical method | Reference for laboratory developed methods | Analytical Technique | Category of method | Applicability |  |  | Limit of Detection | Recovery |  | Sample preparation | Reproducibility |  | Measurement uncertainty (MU) |  |  | Member State | Laboratory
[6 empty] | Analyte | Matrix | Concentration range |  | % | Concentration range |  | RSD % | Concentration range | % | Concentration range | Estimation approach
Cadmium and its compounds (listed in Annex XVII, Entry 28, 29, 30, Appendices 1-6) | [20 empty] | BE
Chromium VI compounds (listed in Annex XVII, Entry 28, 29, 30, Appendices 1-6) | [20 empty] | BG
Arsenic compounds (listed in Annex XVII, Entry 28, 29, 30, Appendices 1-6) | [20 empty] | CZ
Lead and its compounds (listed in Annex XVII, Entry 28, 29, 30, Appendices 1-6) | [20 empty] | DK
Benzene | [20 empty] | DE
Benz[a]anthracene | [20 empty] | EE
Benz[e]acephenanthrylene | [20 empty] | IE
benzo[a]pyrene; benzo[def]chrysene | [20 empty] | EL
Benzo[e]pyrene | [20 empty] | ES
Benzo[j]fluoranthene | [20 empty] | FR
Benzo[k]fluoranthene | [20 empty] | HR
Chrysene | [20 empty] | IT
Dibenz[a,h]anthracene | [20 empty] | CY
α, α,α,4-tetrachlorotoluene; p- chlorobenzotrichloride | [20 empty] | LV
α, α,α-trichlorotoluene; benzotrichloride | [20 empty] | LT
α-chlorotoluene; benzyl chloride | [20 empty] | LU
Formaldehyde | [20 empty] | HU
1,2-benzenedicarboxylic acid; di- C 6-8-branched alkylesters, C 7- rich | [20 empty] | MT
Bis(2-methoxyethyl) phthalate | [20 empty] | NL
Diisopentylphthalate
Di-n-pentyl phthalate (DPP) | [20 empty] | AT
Di-n-hexyl phthalate (DnHP) | [20 empty] | PL
N-methyl-2-pyrrolidone; 1- methyl-2-pyrrolidone (NMP) | [20 empty] | PT
N,N-dimethylacetamide (DMAC) | [20 empty] | RO
N,N-dimethylformamide; dimethyl formamide (DMF) | [20 empty] | SI
1,4,5,8-tetraaminoanthraquinone; C.I. Disperse Blue 1 | [20 empty] | SK
Benzenamine, 4,4′-(4-iminocyclohexa-2,5- dienylidenemethylene)dianiline hydrochloride; C.I. Basic Red 9 | [20 empty] | FI
[4-[4,4′-bis(dimethylamino)benzhydrylidene]cyclohexa-2,5-dien- 1-ylidene]dimethylammonium chloride; C.I. Basic Violet 3 with ≥ 0,1 % of Michler's ketone (EC no. 202-027-5) | [20 empty] | SE
4-chloro-o-toluidinium chloride | [20 empty] | UK
2-Naphthylammoniumacetate
4-methoxy-m-phenylene diammonium sulphate; 2,4-diaminoanisole sulphate | [19 empty] | 1 | E1
2,4,5-trimethylaniline hydrochloride | [19 empty] | 2 | E2
Quinoline | [19 empty] | 3
4A
4B
4C

## entry 75
Restriction | Type of method | Analytical method | Reference for laboratory developed methods | Analytical Technique | Category of method | Applicability |  |  | Limit of Detection | Recovery |  | Sample preparation | Reproducibility |  | Measurement uncertainty (MU) |  |  | Member State | Laboratory
[6 empty] | Analyte | Matrix | Concentration range |  | % | Concentration range |  | RSD % | Concentration range | % | Concentration range | Estimation approach
Substances falling within one or more of the following points: (a) substances classified as any of the following in Part 3 of Annex VI to Regulation (EC) No 1272/2008: — carcinogen category 1A, 1B or 2, or germ cell mutagen category 1A, 1B or 2, but excluding any such substances classified due to effects only following exposure by inhalation — reproductive toxicant category 1A, 1B or 2 but excluding any such substances classified due to effects only following exposure by inhalation — skin sensitiser category 1, 1A or 1B — skin corrosive category 1, 1A, 1B or 1C or skin irritant category 2 — serious eye damage category 1 or eye irritant category 2 (b) substances listed in Annex II to Regulation (EC) No 1223/2009 of the European Parliament and of the Council (*22) (c) substances listed in Annex IV to Regulation (EC) No 1223/2009 for which a condition is specified in at least one of the columns g, h and i of the table in that Annex (d) substances listed in Appendix 13 to this Annex. The ancillary requirements in paragraphs 7 and 8 of column 2 of this entry apply to all mixtures for use for tattooing purposes, whether or not they contain a substance falling within points (a) to (d) of this column of this entry.
BE
BG
CZ
DK
DE
EE
IE
EL
ES
FR
HR
IT
CY
LV
LT
LU
HU
MT
NL
AT
PL
PT
RO
SI
SK
FI
SE
UK
[20 empty] | 1 | E1
[20 empty] | 2 | E2
3
4A
4B
4C